## Sheet1
Department : Quality Control ¦ Quality Assurance
| Function : QA ( Calibration Lab.) | [9 empty] | M E A S U R E M E N T S Y S T E M A N A L Y S I S
| Effective Date : 05/04/2012 | [9 empty] | S C H E D U L E
Document No. & Rev. : DQC-5 / 1.20
S. No. | Description | I.D No. | Freq. (Months) | Parameter | Specification | Jan-2025 Plan | Jan-2025 Results | Mar-2025 Plan | Mar-2025 Results | Jun-2025 Plan | Jun-2025 Results | Sep-2025 Plan | Sep-2025 Results | Dec-2025 Plan | Dec-2025 Results | Remarks
1 | Vernier Caliper | VC-101 | 6 | Length | ±0.02 mm | Planned | OK (A) | Planned | OK (A) | Planned | OK (A) | Planned | OK (A) | Planned | Pending | Stable
2 | Micrometer | MC-202 | 12 | Diameter | ±0.01 mm | Planned | OK (A, B) | - | - | Planned | OK (A) | - | - | Planned | OK (A) | Bias < 5%
3 | Pressure Gauge | PG-303 | 12 | Pressure | 0–10 bar | Planned | Fail (C) | Planned | OK (C) | Planned | OK (C, D) | - | - | Planned | Pending | Action Taken
4 | Dial Indicator | DI-404 | 6 | Deflection | ±0.01 mm | Planned | OK (A, D) | Planned | OK (A) | Planned | OK (A, E) | Planned | OK (A) | Planned | OK (A) | Accepted
¦ Legends
| A = Gauge R&R (Repeatability & Reproducibility – variable data) B = Gauge R&R – Attribute (for attribute type measurement systems) C = Linearity (checks if the measurement bias changes across the measurement range) D = Stability (checks if the measurement system remains consistent over time) E = Bias (checks systematic error compared to a reference standard) | [6 empty] | Prepared by |  | Checked by |  | Approved by

## Disclaimer
Any articles, templates, or information provided by inpaspages.com on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.