## Sheet1
| Department: Maintenance |  |  |  |  | Doc No.: MNT-FF-603-R1 | [5 empty] | PREVENTIVE MAINTENANCE SCHEDULE
| Month & Year: August 2025 |  |  |  |  | Revision No.: 01
Date of Issue: __________
Sr. No. | Equipment / Tag No. | Description | Freq. | 1st Week |  |  |  | 2nd Week |  |  |  | 3rd Week |  |  |  | 4th Week |  |  |  | Remark
|  |  |  | From – To | Done On | Done By | Status | From – To | Done On | Done By | Status | From – To | Done On | Done By | Status | From – To | Done On | Done By | Status
1 | COMP-01 | Air Compressor Oil Level Check | Weekly | 01–07 Aug | 2025-08-02 | R. Patil | OK | 08–14 Aug | 2025-08-09 | S. Khan | OK | 15–21 Aug | 2025-08-16 | R. Patil | OK | 22–28 Aug | 2025-08-23 | S. Khan | OK | Oil top-up required.
2 | GEN-02 | Generator Battery Inspection | Fortnight | 01–14 Aug | 2025-08-12 | P. Deshmukh | OK | 15–28 Aug | 2025-08-26 | A. Jadhav | OK | — | — | — | — | — | — | — | — | Battery water topped up
3 | CHL-05 | Chiller Filter Cleaning | Weekly | 01–07 Aug | 2025-08-03 | R. Patil | OK | 08–14 Aug | 2025-08-10 | S. Khan | OK | 15–21 Aug | 2025-08-17 | R. Patil | OK | 22–28 Aug | 2025-08-25 | S. Khan | OK | No issues
| Prepared By: __________ | [5 empty] | Checked By: __________ | [7 empty] | Approved By: __________

## Disclaimer
Any articles, templates, or information provided by inpaspages.com on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.