## Sheet1
Workplace Safety & Housekeeping Inspection Checklist
XYZ Pvt. Ltd |  | Type of Inspection: Routine ☐ / Monthly ☐ / Quarterly ☐ / Special ☐ |  | Department / Seciton : |  | Report No. & Date
|  |  |  | Machine Line - 2 / Unit III |  | SHIC -EHS-250.dtd.12/01/2012
Block No. 250, Industrial Area, Opp. CS market, Anycity, USA |  |  |  | Date of Inspection |  | Inspector & Approver
|  |  |  | 2012-10-01 |  | Mr. Samir Patel
No | Description | Inspection Result | Remarks (If Any) | Recommendation / Corrective Action | Risk Level | Responsible Person | Target Completion Date
|  | Compliant / NC |  |  | Low/Med/High
Office Area
1 | Lighting | Compliant | Adequate illumination | – | Low | – | –
2 | Ventilation | Compliant | Ventilation working well | – | Low | – | –
3 | Work floor condition | Compliant | Clean & dry | – | Low | – | –
4 | Desk & chair condition | Compliant | Good condition | – | Low | – | –
5 | Emergency exit | Compliant | Clear & accessible | – | Low | – | –
6 | Cable condition | Compliant | Properly arranged | – | Low | – | –
7 | Pantry / Kitchen | Non-Compliant | Trash bin broken | Replace trash bin | Medium | Facility Team | 3 days
8 | Toilet | Compliant | Clean & hygienic | – | Low | – | –
9 | Notice board | Compliant | Updated information | – | Low | – | –
10 | First Aid Box (P3K) | Non-Compliant | Stock missing | Refill medical supplies | High | Safety Officer | 2 days
11 | Fire Extinguisher (APAR) | Compliant | Available & functional | – | Low | – | –
12 | Sharp object hazard | Compliant | None found | – | Low | – | –
13 | Trash bin | Non-Compliant | Almost full | Remove trash immediately | Medium | Housekeeping | Same day
Warehouse Area
1 | Lighting | Non-Compliant | One lamp not working | Replace damaged lamp | Medium | Facility Team | 2 days
2 | Ventilation | Compliant | Good condition | – | Low | – | –
3 | Material stacking | Compliant | Well arranged | – | Low | – | –
4 | Emergency exit | Compliant | Accessible | – | Low | – | –
5 | Material segregation | Compliant | As per standards | – | Low | – | –
6 | PPE signage | Compliant | Properly displayed | – | Low | – | –
7 | Housekeeping | Compliant | Clean & organized | – | Low | – | –
8 | Fire Extinguisher (APAR) | Compliant | Present & tagged | – | Low | – | –
9 | Hazardous waste (B3) | Non-Compliant | Bin full | Send to disposal unit | High | HSE Officer | 5 days
10 | Trash bin | Compliant | Enough & available | – | Low | – | –
Next Inspection Date: __________________ |  | Inspected By: __________________ (Safety Officer) |  | Reviewed By: __________________ (HSE Manager) |  | Approved By: _________________ (Branch Manager)

## Disclaimer
Any articles, templates, or information provided by inpaspages.com on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.